## INFO
EasyIsoCalculator ver 1.1
7 July 2020
this spreadsheet is a part of the research paper, please cite as follow:
The recalculation of stable isotope expressions for HCNOS - EasyIsoCalculator Grzegorz Skrzypek1, Philip J. H. Dunn2 1. West Australian Biogeochemistry Centre, The University of Western Australia, Perth 6009, Western Australia, Australia, grzegorz.skrzypek@uwa.edu.au 2. National Measurement Laboratory, LGC, Teddington, Middlesex TW11 0LY, UK, philip.dunn@lgcgroup.com
Please contact authors if you have any questions or concerns
for updates check the web page: easyisocalculator.gskrzypek.com

## Instruction
Data entering instruction
The calculation procedure can be conducted following a few easy steps, selecting desired input and output expression, absolute values for the zero point of the isotope scale and pasting user data set for recalculation. The user can also extend the absolute ratio data base or add customise values. 1. Open the EasyIsoCalculator.xlsx spreadsheet using Microsoft Excel 2010 (or higher) and select the sheet for the desired element (e.g. H, C, N). Note that in each sheet the dropdown selection menus for different conversions are in yellow. The selection will automatically populate cells in blue, whereas cells which require values to be typed in or copied and pasted are in orange. 2. Select from the dropdown menu (yellow cell D3) the stable isotope expression for the required conversion. Note that blue cells D4 and D5, along with cells C12, D12, E12 and F12, will automatically be populated with respect to the conversion chosen in cell D3. 3. Select from the dropdown menu (yellow cell D6) the absolute ratio for the zero-point for the selected element (Rstd). The cell reporting uncertainty in determination of the absolute ratio will be populated accordingly in cell D7 (if known) and the source literature will be displayed in cell D8. For oxygen and sulphur is also require to select absolute values and lambda (λ) values for mass depended fractionation for minor isotopes. 4. Add information in D9 regarding the uncertainty of your analyses with respect to the instrument and analytical technique used. 5. Type (or copy and paste) your data to be converted into column C (yellow cells from C13 to C52), up to 50 results at a time. The recalculated values will automatically be displayed in the respective lines in columns D, E and F. 6. The uncertainty in the recalculated results will be displayed in columns K, L and M, corresponding to the expressions displayed in D, E and F, respectively. For systems with more than two stable isotopes knowledge about the minor isotopes (e.g. 17O for oxygen or 33S, 36S for sulphur) is required for a certain types of recalculation. By definition, the isotope ratio contains information about two isotopes only (e.g. R(18O/16O)) and therefore a direct accurate recalculation from ratio (R) to fraction (x) without information about 17O/16O is not possible. Isotope delta is calculated from the ratio, therefore, direct accurate recalculation from delta to fraction also is not possible (Table 2). EasyIsoCalculator allows recalculation from ratio and delta to atom fraction using assumptions about the mass-dependent fractionation and known lambda values (Eq 14) (e.g. spreadsheet “Oxygen+17O(correction)”). All other conversions do not require knowledge about minor isotopes: ratio ↔ delta (only major isotopes are required), fraction → ratio and fraction → delta (we assume that true fractions that account for minor isotopes are used). A similar approach has been adopted for stable sulphur isotope composition including 33S and 36S corrections (“Sulphur+33S&36S(correction)” see Eq 15 and 16).

## Hydrogen
Calculator for expression of stable hydrogen isotope composition | [5 empty] | 2H and 1H
select → | Conversion from | Select |  | EasyIsoCalculator | Description of variables |  | Notation | Scale/Unit | Range
automatically populated → | Conversion to | Select "Conversion from" |  |  | Zero-point of delta scale |  | d0(2H/1H) | VSMOW | 0
automatically populated → | Scale for delta | VSMOW |  |  | Absolute isotope ratio Rstd for delta zero-point |  | R0(2H/1H) | fraction | 0 to 1
select → | Absolute isotope ratio Rstd for delta zero-point | Select Rstd |  |  | Delta (2H/1H) |  | d(2H/1H) | ‰ | -1000 to infinity
automatically populated → | Absolute isotope ratio Rstd for delta zero-point uncertainty | Select "Absolute isotope ratio Rstd for delta zero point" |  |  | Absolute Isotope Ratio (2H/1H) |  | R(2H/1H) | fraction | 0 to 1
automatically populated → | Absolute ratio Rstd citation | Select "Absolute isotope ratio Rstd for delta zero point" |  |  | Atom Fraction of heavier isotope as percent (2H) |  | x(2H) | % | 0 to 100
type uncertainty there → | uncertainty Select | 0 |  |  | Atom Fraction of heavier isotope as ppm (2H) |  | x(2H) | ppm | 0 to 106
Sample name | ENTER | RECALCULATED VALUES |  |  |  |  | RECALCULATED uncertainty
automatically populated→ | Select | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected

## Carbon
Calculator for expression of stable carbon isotope composition | [5 empty] | 13C and 12C
select → | Conversion from | Delta (13C/12C) [‰] |  | EasyIsoCalculator | Description of variables |  | Notation | Scale/Unit | Range
automatically populated → | Conversion to | Ratio (13C/12C), Fraction (13C) [%], Fraction (13C) [ppm] |  |  | Zero-point of delta scale |  | d0(13C/12C) | VPDB | 0
automatically populated → | Scale for delta | VPDB |  |  | Absolute isotope ratio for delta zero-point |  | R0(13C/12C) | fraction | 0 to 1
select → | Absolute isotope ratio Rstd for delta zero-point | 0.011237 |  |  | Delta (13C/12C) |  | d(13C/12C) | ‰ | -1000 to infinity
automatically populated → | Absolute isotope ratio Rstd for delta zero-point uncertainty | 3e-05 |  |  | Absolute Isotope Ratio (13C/12C) |  | R(13C/12C) | fraction | 0 to 1
automatically populated → | Absolute ratio Rstd citation | Nier (1950) and Craig (1957) |  |  | Atom Fraction of heavier isotope as percent (13C) |  | x(13C) | % | 0 to 100
type uncertainty there → | uncertainty Delta (13C/12C) [‰] | 0.2 |  |  | Atom Fraction of heavier isotope as ppm (13C) |  | x(13C) | ppm | 0 to 106
Sample name | ENTER | RECALCULATED VALUES |  |  |  |  | RECALCULATED uncertainty
automatically populated→ | Delta (13C/12C) [‰] | Ratio (13C/12C) | Fraction (13C) [%] | Fraction (13C) [ppm] |  |  | Ratio (13C/12C) | Fraction (13C) [%] | Fraction (13C) [ppm]
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183
type or paste value there → | 0 | 0.011237 | 1.1112 | 11112.3285 |  |  | 3.0084e-05 | 0.0029418 | 29.4183

## Nitrogen
Calculator for expression of stable nitrogen isotope composition | [5 empty] | 15N and 14N
select → | Conversion from | Select |  | EasyIsoCalculator | Description of variables |  | Notation | Scale/Unit | Range
automatically populated → | Conversion to | Select "Conversion from" |  |  | Zero-point of delta scale |  | d0(15N/14N) | AIR | 0
automatically populated → | Scale for delta | AIR |  |  | Absolute isotope ratio for delta zero-point |  | R0(15N/14N) | fraction | 0 to 1
select → | Absolute isotope ratio Rstd for delta zero-point | Select Rstd |  |  | Delta (15N/14N) |  | d(15N/14N) | ‰ | -1000 to infinity
automatically populated → | Absolute isotope ratio Rstd for delta zero-point uncertainty | Select "Absolute isotope ratio Rstd for delta zero point" |  |  | Absolute Isotope Ratio (15N/14N) |  | R(15N/14N) | fraction | 0 to 1
automatically populated → | Absolute ratio Rstd citation | Select "Absolute isotope ratio Rstd for delta zero point" |  |  | Atom Fraction of heavier isotope as percent (15N) |  | x(15N) | % | 0 to 100
type uncertainty there → | uncertainty Select | 0 |  |  | Atom Fraction of heavier isotope as ppm (15N) |  | x(15N) | ppm | 0 to 106
Sample name | ENTER | RECALCULATED VALUES |  |  |  |  | RECALCULATED uncertainty
automatically populated→ | Select | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected

## Oxygen+17O(correction)
Calculator for expression of stable oxygen isotope composition | [5 empty] | 18O and 16O (with 17O correction)
select → | Conversion from | Select |  | EasyIsoCalculator | Description of variables |  | Notation | Scale/Unit | Range
automatically populated → | Conversion to | Select "Conversion from" |  |  | Zero-point of delta scale |  | d0(18O/16O) | VSMOW or VPDB | 0
select → | Absolute isotope ratio for delta zero-point Rstd(18O/16O) | Select Rstd | Select "Absolut isotope ratio Rstd for delta zero point" |  | Absolute isotope ratio for delta zero-point |  | R0(18O/16O) | fraction | 0 to 1
automatically populated → | Absolute isotope ratio for delta zero-point uncertainty Rstd(18O/16O) | Select "Absolute isotope ratio Rstd for delta zero point" | Select "Absolut isotope ratio Rstd for delta zero point" |  | Delta (18O/16O) |  | d(18O/16O) | ‰ | -1000 to infinity
automatically populated → | Absolute ratio citation | Select "Absolute isotope ratio Rstd for delta zero point" |  |  | Absolute Isotope Ratio (18O/16O) |  | R(18O/16O) | fraction | 0 to 1
select → | Absolute isotope ratio for delta zero-point Rstd(17O/16O) | Select "Absolute isotope ratio Rstd(17O/16O) for delta zero-point" | Select "Absolut isotope ratio Rstd for delta zero point" |  | Atom Fraction of heavier isotope as percent (18O) |  | x(18O) | % | 0 to 100
automatically populated → | Absolute isotope ratio for delta zero-point uncertainty Rstd(17O/16O) | Select "Absolute isotope ratio Rstd(17O/16O) for delta zero-point uncertainty" | Select "Absolut isotope ratio Rstd for delta zero point" |  | Atom Fraction of heavier isotope as ppm (18O) |  | x(18O) | ppm | 0 to 106
automatically populated → | Absolute ratio Rstd(17O/16O) citation | Select "Absolute isotope ratio Rstd(17O/16O) for delta zero-point" |  |  | Note that the applied 17O correction is valid if the samples stable oxygen isotope composition was formed during mass dependent fractionation processes
select → | Lambda λ17 | Select "Lambda λ17"
automatically populated → | Lambda citation | Select "Lambda λ17"
type uncertainty there → | uncertainty Select | 0
No warnings
Sample name | ENTER | RECALCULATED VALUES |  |  |  |  | RECALCULATED uncertainty
automatically populated → | Select | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected

## Sulphur+33S&36S(correction)
Calculator for expression of stable sulphur isotope composition | [5 empty] | 34S and 32S (with 33S and 36S corrections)
select → | Conversion from | Select |  | EasyIsoCalculator | Description of variables |  | Notation | Scale/Unit | Range
automatically populated → | Conversion to | Select "Conversion from" |  |  | Zero-point of delta scale |  | d0(34S/32S) | VCDT | 0
automatically populated → | Scale for delta | VCDT |  |  | Absolute isotope ratio for delta zero-point |  | R0(34S/32S) | fraction | 0 to 1
select → | Absolute isotope ratio for delta zero-point Rstd(34S/32S) | Select Rstd |  |  | Delta (34S/32S) |  | d(34S/32S) | ‰ | -1000 to infinity
automatically populated → | Absolute isotope ratio for delta zero-point uncertainty Rstd(34S/32S) | Select "Absolute isotope ratio Rstd for delta zero point" |  |  | Absolute Isotope Ratio (34S/32S) |  | R(34S/32S) | fraction | 0 to 1
automatically populated → | Absolute ratio citation | Select "Absolute isotope ratio Rstd for delta zero point" |  |  | Atom Fraction of heavier isotope as percent (34S) |  | x(34S) | % | 0 to 100
select → | Absolute isotope ratio for delta zero-point Rstd(33S/32S) | 0.0078772 |  |  | Atom Fraction of heavier isotope as ppm (34S) |  | x(34S) | ppm | 0 to 106
automatically populated → | Absolute isotope ratio for delta zero-point uncertainty Rstd(33S/32S) | 2.9e-06 |  |  | Note that the applied 33S and 36S corrections are valid if the samples stable sulphur isotope composition was formed during mass dependent fractionation processes
automatically populated → | Absolute ratio citation | Kaiser & Röckmann 2008
select → | Absolute isotope ratio for delta zero-point Rstd(36S/32S) | 0.0001535
automatically populated → | Absolute isotope ratio for delta zero-point uncertainty Rstd(36S/32S) | 5e-07
automatically populated → | Absolute ratio citation | Kaiser & Röckmann 2008
select → | Lambda λ33 | 0.515
automatically populated → | Lambda citation | Kaiser & Röckmann 2008
select → | Lambda λ36 | 1.9
automatically populated → | Lambda citation | Kaiser & Röckmann 2008
type uncertainty there → | uncertainty Select | 1
Sample name | ENTER | RECALCULATED VALUES |  |  |  |  | RECALCULATED uncertainty
automatically populated→ | Select | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected
type or paste value there → | 0 | Not selected | Not selected | Not selected |  |  | Not selected | Not selected | Not selected

## Tables
Date | Term | Value | Uncertainty | Uncertainty type | meas/calc/recom | Reference (short) | Comment | Reference (not comprehensive list of known Rstd values) | Scale info
|  | Select Rstd | Select "Absolute isotope ratio Rstd for delta zero point" |  |  | Select "Absolut isotope ratio Rstd for delta zero point"
1980 | Rstd(2H/1H) | 0.0001556 | 1.2e-07 | reproducibility | m | Tse et al (1980) | by NMR | Tse et al (1980) Determination of deuterium/hydrogen ratios in natural waters by Fourier transform nuclear magnetic resonance spectrometry. Anal. Chem. 52, 2445-2448.
1980 | Rstd(2H/1H) | 0.00015575 | 8e-08 | stdev | m | De Wit et al (1980) |  | De Wit et al (1980) Determination of the absolute hydrogen isotopic ratio of VSMOW and SLAP. Geostandards Newsletter, 4(1), 33-36
1970 | Rstd(2H/1H) | 0.00015576 | 5e-08 |  | m | Hageman et al (1970) | uncertainty type not clear, k = 1?? | Hageman et al (1970) Absolute isotopic scale for deuterium analysis of natural waters. Absolute D/H ratio for SMOW. Tellus, 22:6, 712-715
1961 | Rstd(2H/1H) | 0.00015803 | 2e-06 | k = 1 | m | Craig (1961) |  | Craig (1961) Standard for reporting concentrations of deuterium and oxygen-18 in natural waters. Science, 133(3467), 1833-1834.
XXXX | Rstd(2H/1H) | 0.00000000 - blank space for user-defined value, add in Tables | XXXX | XXXX | X | XXXX |  | enter desired user-defined value in column C and D
|  | Select Rstd | Select "Absolute isotope ratio Rstd for delta zero point" |  |  | Select "Absolut isotope ratio Rstd for delta zero point"
2019 | Rstd(13C/12C) | 0.011091 | 2.342e-05 | k = 2 | m | Malinovskiy et al (2019) | linear regression from values on certificates | Malinovskiy et al (2019) Development and characterisation of new glycine certified reference materials for SI-traceable 13C/12C isotope amount ratio measurements. J. Anal. At. Spectrom., 34, 147-159.
1999 | Rstd(13C/12C) | 0.011094 | 1.8035e-05 | k = 2 | m | Nørgaard et al (1999) | linear regression from values on certificates | Nørgaard et al (1999) IMEP-8: Carbon and oxygen isotope ratios in CO2 (Certification Report EUR 19061 EN). Institute for Reference Materials and Measurements.
2004 | Rstd(13C/12C) | 0.011101 | 1.6e-05 | k = 2 | m | Ruße et al (2004) | from PEF1 (now IAEA-CH-7), NBS22 and USGS24 but using old delta values (new ones don't change anything significantly) | Ruße et al (2004) Synthetic isotope mixtures for the calibration of isotope amount ratio measurements of carbon. Int. J. Mass Spectrom. 235(3), 255–262.
2015 | Rstd(13C/12C) | 0.011115 | 2.7e-05 | k = 2 | m | Dunn et al (2015) | linear regression using CRMs (LSVEC, USGS41, IAEA-303A, IAEA-303B) | Dunn et al (2015) Calibration strategies for the determination of stable carbon absolute isotope ratios in a glycine candidate reference material by elemental analyser-isotope ratio mass spectrometry. Anal. Bioanal. Chem. 407, 3169–3180.
2019 | Rstd(13C/12C) | 0.011117 | 3.8664e-05 | k = 2.57 | c | Malinovskiy et al (2019) | mean of all previously measured values as reported by authors (no recalculation) | Malinovskiy et al (2019) Development and characterisation of new glycine certified reference materials for SI-traceable 13C/12C isotope amount ratio measurements. J. Anal. At. Spectrom., 34, 147-159.
2008 | Rstd(13C/12C) | 0.011124 | 4.5e-05 | k = 1 | c | Kaiser (2008) | consensus using recalculated values based upon Chang & Li 1990, Noorgard, Russe and Valkiers 1999 | Kaiser (2008) Reformulated 17O correction of mass spectrometric stable isotope measurements in carbon dioxide and a critical appraisal of historic ‘absolute’ carbon and oxygen isotope ratios. Geochim. Cosmochim. Acta 72() 1312–1334.
2007 | Rstd(13C/12C) | 0.011138 | 1.6e-06 | k = 1 | m | Valkiers et al (2007) | from NBS 19 | Valkiers et al (2007) Preparation of Synthetic Isotope Mixtures for the calibration of carbon and oxygen isotope ratio measurements (in carbon dioxide) to the SI. Int. J. Mass. Spectrom. 264(1), 10–21.
1990 | Rstd(13C/12C) | 0.01118 | 2.8e-05 | k = 2 | m | Chang & Li (1990) | from NBS 19 | Chang (Zhang) & Li (1990) A calibrated measurement of the atomic weight of carbon. Chin. Sci. Bull. 35(4), 290–296.
2001 | Rstd(13C/12C) | 0.01118 | 2.8e-05 | k = 2 | r | Werner & Brand (2001) | refers to Chang & Li 1990 | Werner & Brand (2001) Referencing strategies and techniques in stable isotope ratio analysis. Rapid Commun. Mass Spectrom. 15, 501–519.
1957 | Rstd(13C/12C) | 0.011237 | 3e-05 | k = 1 | m/c | Nier (1950) and Craig (1957) | from original PDB | Craig (1957) Isotopic standards for carbon and oxygen and correction factors for mass-spectrometric analysis of carbon dioxide. Geochim. Cosmochim. Acta 12, 133–149 Nier (1950) A redetermination of the relative abundances of the isotopes of carbon, nitrogen, oxygen, argon, and potassium. Phys. Rev. 77(6), 789–793.
XXXX | Rstd(13C/12C) | 0.00000000 - blank space for user-defined value, add in Tables | XXXX | XXXX | X | XXXX |  | enter desired user-defined value in column C and D
|  | Select Rstd | Select "Absolute isotope ratio Rstd for delta zero point" |  |  | Select "Absolut isotope ratio Rstd for delta zero point"
1931 | Rstd(15N/14N) | 0.003643 | n/d |  | m | Urey & Murphy (1931) |  | Urey & Murphy, (1931) The relative abundance of N14 and N15. Phys. Rev., 28, 575-576
1950 | Rstd(15N/14N) | 0.003663 | 1.3369e-05 |  | m | Nier (1950) | uncertainty type not clear, k = 1?? | Nier (1950) A redetermination of the relative abundances of the isotopes of carbon, nitrogen, oxygen, argon, and potassium. Phys. Rev. 77(6), 789–793.
1996 | Rstd(15N/14N) | 0.0036647 | 1.4767e-06 | k = 1 | m | De Bievre et al (1996) | not calibrated with N isotopic mixtures | De Bievre et al (1996) Mass-spectrometric methods for determining isotopic composition and molar mass traceable to the SI, exemplified by improved values for nitrogen. Metrologia, 33, 447-456
1984 | Rstd(15N/14N) | 0.0036735 | 7.1382e-06 |  | c/r | Holden et al (1984) | rounded from Junk & Svec 1958 | Holden et al (1984) Isotopic Compositions of the Elements 1983. Pure Appl. Chem., 56, 675-694.
1958 | Rstd(15N/14N) | 0.0036765 | 4.0505e-06 |  | m | Junk & Svec (1958) | uncertainty type not clear, k = 1?? | Junk & Svec (1958) The Absolute Abundance of the Nitrogen Isotopes in the Atmosphere and Compressed Gas from Various Sources. Geochim. Cosmochim. Acta. 14, 234-243
2001 | Rstd(15N/14N) | 0.0036782 | 1.5e-06 | k = 1 | r | Werner & Brand (2001) | refers to De Bievre 1996 | Werner & Brand (2001) Referencing strategies and techniques in stable isotope ratio analysis. Rapid Commun. Mass Spectrom. 15, 501–519.
1939 | Rstd(15N/14N) | 0.0036936 | n/d |  | m | Schoenheimer & Reittenberg (1939) |  | Schoenheimer & Reittenberg (1939) Studies in Protein Metabolism I. General considerations in the application of isotopes to the study of protein metabolism. The normal abundance of nitrogen isotopes in amino acids. Journal of Biological Chemistry 127.1 (1939): 285-290.
1935 | Rstd(15N/14N) | 0.0037736 | n/d |  | m | Wahl et al (1935) |  | Wahl, Huffman, & Hipple (1935) An Attempted Concentration of the Heavy Nitrogen Isotope. The Journal of Chemical Physics, 3(7), 434-435.
1951 | Rstd(15N/14N) | 0.0038346 | 1.0077e-05 |  | m | Soloway (1951) | uncertainty type not clear, k = 1?? | Soloway (1951) Reference Standard for Mass Spectrometric Analysis of Nitrogen. Anal Chem, 23 (2), 386-386
XXXX | Rstd(15N/14N) | 0.00000000 - blank space for user-defined value, add in Tables | XXXX | XXXX | X | XXXX |  | enter desired user-defined value in column C and D
|  | Select Rstd | Select "Absolute isotope ratio Rstd for delta zero point" |  |  | Select "Absolut isotope ratio Rstd for delta zero point" |  |  | Select "Absolut isotope ratio Rstd for delta zero point"
1961 | Rstd(18O/16O)VSMOW | 0.0019934 | 2.5e-06 | k = 1 | m | Craig (1961) |  | Craig (1961) Standard for reporting concentrations of deuterium and oxygen-18 in natural waters, Science, 133(3467), 1833-1834 | VSMOW
1976 | Rstd(18O/16O)VSMOW | 0.0020052 | 4.5e-07 | stdev (n = 5) | m | Baertschi (1976) |  | Baertschi (1976) Absolute 18O content of standard mean ocean water. Earth Planet. Sci. Lett. 31, 341–344. | VSMOW
1993 | Rstd(18O/16O)VSMOW | 0.0020228 | 2e-06 | k = 1 | m | Valkiers & De Bievre 1993 |  | Valkiers & De Bievre (1993) Near-absolute (isotope) mass spectrometry: isotope abundances (and atomic weight) determinations of nitrogen and oxygen. Third international Symposium on Separation Technology, pp. 953–957 | VSMOW
1995 | Rstd(18O/16O)VPDB | 0.0020672 | n/d | n/a | c/r | Allison (1995) | from Baertchi 1976 VSMOW and 30.9 for VSMOW-VPDB conversion from Hut 1987 | Allison (1995) Recommendations for the reporting of stable isotope measurements of carbon and oxygen in CO2 gas. In Reference and Intercomparison Materials for Stable Isotopes of Light Elements (ed. IAEA). International Atomic Energy Agency, pp. 155–162. (IAEA-TECDOC-825). | VPDB
2001 | Rstd(18O/16O)VPDB | 0.0020672 | n/d | n/a | c/r | Werner & Brand (2001) | using 30.92‰ to convert from VSMOW | Werner & Brand (2001) Referencing strategies and techniques in stable isotope ratio analysis. Rapid Commun. Mass Spectrom. 15, 501–519. | VPDB
1995 | Rstd(18O/16O)VPDB | 0.0020883 | n/d | n/a | c/r | Allison (1995) | listed as VPDB-CO2 | Allison (1995) Recommendations for the reporting of stable isotope measurements of carbon and oxygen in CO2 gas. In Reference and Intercomparison Materials for Stable Isotopes of Light Elements (ed. IAEA). International Atomic Energy Agency, pp. 155–162. (IAEA-TECDOC-825). | VPDB
XXXX | Rstd(18O/16O) | 0.00000000 - blank space for user-defined value, add in Tables | XXXX | XXXX | X | XXXX |  | enter desired user-defined value in column C and D | VPDB or VSMOW
|  | Select Rstd | Select "Absolute isotope ratio Rstd for delta zero point" |  |  | Select "Absolut isotope ratio Rstd for delta zero point"
1999 | Rstd(34S/32S) | 0.044151 | 1.1693e-05 | k = 1 | m | Ding et al (1999) |  | Ding et al (1999) Determination of the absolute 32S/34S ratio of IAEA-S-1 reference material and V-CDT sulfur isotope standard. Science in China Series D: Earth Sciences, 42(1), 45-51.
2001 | Rstd(34S/32S) | 0.044151 | 1.17e-05 | k = 1 | r | Werner & Brand (2001) | refers to Ding 1999 | Werner & Brand (2001)Referencing strategies and techniques in stable isotope ratio analysis. Rapid Commun. Mass Spectrom. 15, 501–519.
2001 | Rstd(34S/32S) | 0.044163 | 3.9003e-06 | k = 1 | m | Ding et al (2001) |  | Ding et al (2001) Calibrated sulfur isotope abundance ratios of three IAEA sulfur isotope reference materials and V-CDT with a reassessment of the atomic weight of sulfur. Geochim Cosmochim Acta, 65(15), 2433-2437.
1962 | Rstd(34S/32S) | 0.045005 | 8.1002e-06 | k = 1 | m | Thode et al (1961) |  | Thode, Monster & Dunford, (1961), Sulphur isotope geochemistry. Geochim Cosmochim Acta, 25(3), 159-174.
1989 | Rstd(34S/32S) | 0.045249 | n/d |  | c | Zhang & Ding (1989) | calculated from the Rees' ratio R32/34 = 22.21 for this material together with Macnamara and Thode's result for the isotopic composition of meteorite+[4]$/, i. e. 0.750 atom% 33S and 0.017 atom% 36S | Zhang, Chang & Ding (1989), Analysis of the reference material NBS-123 and the atomic weight of sulfur, Chin. Sci. Bull., 13, 1086-1089
XXXX | Rstd(34S/32S) | 0.00000000 - blank space for user-defined value, add in Tables | XXXX | XXXX | X | XXXX |  | enter desired user-defined value in column C and D
|  | Select "Absolute isotope ratio Rstd(17O/16O) for delta zero-point" | Select "Absolute isotope ratio Rstd(17O/16O) for delta zero-point uncertainty" |  |  | Select "Absolute isotope ratio Rstd(17O/16O) for delta zero-point" |  |  | Select "Absolut isotope ratio Rstd for delta zero point"
1995 | Rstd(17O/16O)VPDB | 0.00037689 | n/a | n/a | c,r | Allison 1995 | from 18R with lambda = 0.5 | Allison (1995) Recommendations for the reporting of stable isotope measurements of carbon and oxygen in CO2 gas. In Reference and Intercomparison Materials for Stable Isotopes of Light Elements (ed. IAEA). International Atomic Energy Agency, pp. 155–162. (IAEA-TECDOC-825) | VPDB
1957 | Rstd(17O/16O)VPDB | 0.00037995 | n/a | n/a | i | Craig 1957 |  | Craig H. Isotopic standards for carbon and oxygen and correction factors for mass-spectrometric analysis of carbon dioxide. Geochimica et Cosmochimica Acta. 1957;12(1-2):133-149. | VPDB
2001 | Rstd(17O/16O)VPDB | 0.000386 | n/a |  | c,r | Werner and Brand 2001 | using 30.92 permil to convert from VSMOW reported by Li 1988 | Werner & Brand (2001)Referencing strategies and techniques in stable isotope ratio analysis. Rapid Commun. Mass Spectrom. 15, 501–519. | VPDB
1988 | Rstd(17O/16O)VSMOW | 0.0003799 | 8e-07 |  |  | Li et al. 1988 |  | Li W, Ni B, Jin D, Zhang TL. Measurement of the abundance of oxyge-17 in V-SMOW. Li et al, Chinese Science Bulletin. 1988;33(19):1610-1613. | VSMOW
2008 | Rstd(17O/16O)VSMOW | 0.0003827 | 1.9e-06 |  | r | Kaiser & Rockmann 2008 | +0.0000017, -0.0000021 | Kaiser & Rockmann (2008) Correction of mass spectrometric isotope ratio measurements for isobaric isotopologues of O2, CO, CO2, N2O and SO2, RCM, 22, 3997-4008 | VSMOW
1993 | Rstd(17O/16O)VSMOW | 0.0003862 | 2e-06 | k = 1 | m | Valkiers & De Bievre 1993 |  | Valkiers & De Bievre (1993) Near-absolute (isotope) mass spectrometry: isotope abundances (and atomic weight) determinations of nitrogen and oxygen. Third international Symposium on Separation Technology, pp. 953–957 | VSMOW
2003 | Rstd(17O/16O)VSMOW | 0.00038672 | 4.35e-07 | - |  | Assonov and Brenninkmeijer 2003 |  | Assonov & Brenninkmeijer, Rapid Commun. Mass Spectrom. 2003, 17, 1017-1029 | VSMOW
1985 | Rstd(17O/16O)VSMOW | 0.000402 | 8e-06 | std err | m | Santrock et al 1985 |  | Santrock et al (1985) Isotopic analyses based on the mass spectrum of carbon dioxide. Anal. Chem. 57(7), 1444–1448 | VSMOW
XXXX | Rstd(17O/16O) | 0.00000000 - blank space for user-defined value, add in Tables | XXXX | XXXX | X | XXXX |  | enter desired user-defined value in column C and D | VPDB or VSMOW
|  | Select "Absolute isotope ratio Rstd(33S/32S) for delta zero-point" | Select "Absolute isotope ratio Rstd(33S/32S) for delta zero-point" |  |  | Select "Absolute isotope ratio Rstd(33S/32S) for delta zero-point"
2008 | Rstd(33S/32S) | 0.0078772 | 2.9e-06 |  |  | Kaiser & Röckmann 2008 |  | Kaiser J, Röckmann T. Correction of mass spectrometric isotope ratio measurements for isobaric isotopologues of O2, CO, CO2, N2O and SO2. Rapid Communications in Mass Spectrometry. 2008;22(24):3997-4008.
XXXX | Rstd(33S/32S) | 0.00000000 - blank space for user-defined value, add in Tables | XXXX | XXXX | X | XXXX |  | enter desired user-defined value in column C and D
XXXX | Rstd(33S/32S) | 0.00000000 - blank space for user-defined value, add in Tables | XXXX | XXXX | X | XXXX |  | enter desired user-defined value in column C and D
|  | Select "Absolute isotope ratio Rstd(36S/32S) for delta zero-point" | Select "Absolute isotope ratio Rstd(36S/32S) for delta zero-point" |  |  | Select "Absolute isotope ratio Rstd(36S/32S) for delta zero-point"
2003 | Rstd(36S/32S) | 0.0001535 | 5e-07 |  |  | Kaiser & Röckmann 2008 |  | Kaiser J, Röckmann T. Correction of mass spectrometric isotope ratio measurements for isobaric isotopologues of O2, CO, CO2, N2O and SO2. Rapid Communications in Mass Spectrometry. 2008;22(24):3997-4008.
XXXX | Rstd(36S/32S) | 0.00000000 - blank space for user-defined value, add in Tables | XXXX | XXXX | X | XXXX |  | enter desired user-defined value in column C and D
XXXX | Rstd(36S/32S) | 0.00000000 - blank space for user-defined value, add in Tables | XXXX | XXXX | X | XXXX |  | enter desired user-defined value in column C and D

## Constants
Dropdown 1 | Dropdown 1 - if
Select | Select "Conversion from"
Delta (2H/1H) [‰] | Ratio (2H/1H), Fraction (2H) [%], Fraction (2H) [ppm]
Ratio (2H/1H) | Delta (2H/1H, Fraction (2H) [%], Fraction (2H) [ppm]
Fraction (2H) [%] | Delta (2H/1H), Ratio (2H/1H), Fraction (2H) [ppm]
Fraction (2H) [ppm] | Delta (2H/1H), Ratio (2H/1H), Fraction (2H) [%]
Select | Select "Conversion from"
Delta (13C/12C) [‰] | Ratio (13C/12C), Fraction (13C) [%], Fraction (13C) [ppm]
Ratio (13C/12C) | Delta (13C/12C, Fraction (13C) [%], Fraction (13C) [ppm]
Fraction (13C) [%] | Delta (13C/12C), Ratio (13C/12C), Fraction (13C) [ppm]
Fraction (13C) [ppm] | Delta (13C/12C), Ratio (13C/12C), Fraction (13C) [%]
Select | Select "Conversion from"
Delta (15N/14N) [‰] | Ratio (15N/14N), Fraction (15N) [%], Fraction (15N) [ppm]
Ratio (15N/14N) | Delta (15N/14N, Fraction (15N) [%], Fraction (15N) [ppm]
Fraction (15N) [%] | Delta (15N/14N), Ratio (15N/14N), Fraction (15N) [ppm]
Fraction (15N) [ppm] | Delta (15N/14N), Ratio (15N/14N), Fraction (15N) [%]
Select | Select "Conversion from"
Delta (18O/16O) [‰] | Ratio (18O/16O), Fraction (18O) [%], Fraction (18O) [ppm]
Ratio (18O/16O) | Delta (18O/16O, Fraction (18O) [%], Fraction (18O) [ppm]
Fraction (18O) [%] | Delta (18O/16O), Ratio (18O/16O), Fraction (18O) [ppm]
Fraction (18O) [ppm] | Delta (18O/16O), Ratio (18O/16O), Fraction (18O) [%]
Select | Select "Conversion from"
Delta (34S/32S) [‰] | Ratio (34S/32S), Fraction (34S) [%], Fraction (34S) [ppm]
Ratio (34S/32S) | Delta (34S/32S, Fraction (34S) [%], Fraction (34S) [ppm]
Fraction (34S) [%] | Delta (34S/32S), Ratio (34S/32S), Fraction (34S) [ppm]
Fraction (34S) [ppm] | Delta (34S/32S), Ratio (34S/32S), Fraction (34S) [%]
Select "Lambda λ17" | Select "Lambda λ17" | Citation
Brand et al. (2010) | 0.528 | Brand et al, Pure Appl Chem, 2010, 82, 1719-1733
Santrock et al. (1985) | 0.516 | Santrock et al, Anal. Chem. 1985, 57(7), 1444–1448
Craig (1957) | 0.5 | Craig, Geochim Cosmochim Acta, 1957, 12, 133-149
Select "Lambda λ33" | Select "Lambda λ33" | Citation
Kaiser & Röckmann 2008 | 0.515 | Kaiser J, Röckmann T. Correction of mass spectrometric isotope ratio measurements for isobaric isotopologues of O2, CO, CO2, N2O and SO2. Rapid Communications in Mass Spectrometry. 2008;22(24):3997-4008.
XXXX-XXXX | 0.00000000 - blank space for user-defined value, add in Constants | enter desired user-defined value in column B
XXXX-XXXX | 0.00000000 - blank space for user-defined value, add in Constants | enter desired user-defined value in column B
Select "Lambda λ36" | Select "Lambda λ36" | Citation
Kaiser & Röckmann 2008 | 1.9 | Kaiser J, Röckmann T. Correction of mass spectrometric isotope ratio measurements for isobaric isotopologues of O2, CO, CO2, N2O and SO2. Rapid Communications in Mass Spectrometry. 2008;22(24):3997-4008.
XXXX-XXXX | 0.00000000 - blank space for user-defined value, add in Constants | enter desired user-defined value in column B
XXXX-XXXX | 0.00000000 - blank space for user-defined value, add in Constants | enter desired user-defined value in column B