## Summary
Name | Used weight [mg] | δ(13C) [‰ VPDB] | C% (weight IRMS) | Comments | Repeat at [mg]
E_1_11_11 | 15.269 | - | - | Set 7. too high/ for some reason not reweigh, repeat | 7.4717
EC_2_1_21 | 15.297 | - | - | Set 7. too high/ for some reason not reweigh, repeat | 9.0952
E_1_9_3 | 5.556 | - | - | Set 8. too high/ for some reason not reweigh, repeat | 2.4499
EC_1_2_2 | 5.365 | - | - | Set 8. too high/ for some reason not reweigh, repeat | 3.1544
EC_1_2_5 | 10.525 | - | - | Set 8. too high/ for some reason not reweigh, repeat | 5.4472
EC_2_1_10 | 10.941 | - | - | Set 8. too high/ for some reason not reweigh, repeat | 6.6157
EC_2_1_2 | 5.477 | - | - | Set 8. too high/ for some reason not reweigh, repeat | 3.4211
EC_2_2_5 | 10.737 | - | - | Set 8. too high/ for some reason not reweigh, repeat | 4.73
EC_2_2_8 | 10.849 | - | - | Set 8. too high/ for some reason not reweigh, repeat | 7.0099
EC_2_2_9 | 10.982 | - | - | Set 8. too high/ for some reason not reweigh, repeat | 5.4843
E_2_12_11 | 15.435 | - | - | Tech problem? Odd beam signal. Flagged as too high, repeat | 3.4902
EC_1_2_1 | 15.318 | - | - | Tech problem? Odd beam signal. Flagged as too high, repeat | 3.4902
E_1_11_2 | 5.15 | -11.2517 | 8.0919 | Too high, lower precision, eventually repeat | 2.3096
E_1_13_3 | 5.358 | -18.5386 | 7.0706 | Too high, lower precision, eventually repeat | 2.1026
E_2_12_2 | 5.483 | 17.2351 | 6.7187 | Too high, lower precision, eventually repeat | 2.0455
E_1_10_1 | 50.309 | 323.7725 | 0.23991
E_1_10_2 | 50.152 | -0.65544 | 0.10393
E_1_11_1 | 1.779 | 106.87 | 12.4341
E_1_11_10 | 5.355 | -15.969 | 2.8613
E_1_11_3 | 5.364 | -13.2531 | 4.5187
E_1_11_4 | 5.433 | -14.0636 | 6.5995
E_1_11_5 | 5.477 | -14.3187 | 5.6971
E_1_11_6 | 5.373 | -14.3659 | 4.9878
E_1_11_7 | 5.446 | -15.1433 | 5.1666
E_1_11_8 | 5.161 | -14.6591 | 3.8718
E_1_11_9 | 5.5 | -15.9426 | 3.3774
E_1_12_1 | 50.547 | 290.5006 | 0.4015
E_1_12_10 | 50.678 | 5.7147 | 0.14936
E_1_12_2 | 50.12 | 150.6455 | 0.12224
E_1_12_3 | 50.035 | 26.0963 | 0.11986
E_1_12_4 | 50.934 | 8.4185 | 0.10982
E_1_12_5 | 50.628 | 3.8613 | 0.087825
E_1_12_6 | 50.254 | 3.5451 | 0.093388
E_1_12_7 | 50.506 | 2.8279 | 0.092536
E_1_12_8 | 50.405 | 1.5384 | 0.11442
E_1_12_9 | 50.289 | 2.7497 | 0.11986
E_1_13_1 | 5.437 | 97.3246 | 5.9878
E_1_13_10 | 5.139 | -15.0765 | 1.2987
E_1_13_2 | 5.054 | -0.74112 | 3.936
E_1_13_4 | 5.386 | -9.3261 | 3.6976
E_1_13_5 | 5.254 | -10.0629 | 3.6045
E_1_13_6 | 5.085 | -12.5451 | 2.3954
E_1_13_7 | 5.485 | -13.4174 | 2.9469
E_1_13_9 | 5.46 | -13.7664 | 2.9486
E_1_14_1 | 50.378 | 311.8615 | 0.30207
E_1_14_10 | 50.797 | -1.0696 | 0.093431
E_1_14_2 | 50.672 | 3.652 | 0.10297
E_1_14_3 | 50.726 | 4.5272 | 0.10641
E_1_14_4 | 50.335 | 0.76079 | 0.11051
E_1_14_5 | 50.214 | 0.65497 | 0.12121
E_1_14_6 | 50.547 | -3.9644 | 0.10073
E_1_14_7 | 50.125 | -3.2527 | 0.1106
E_1_14_8 | 50.052 | -4.7282 | 0.13636
E_1_14_9 | 50.067 | -0.33718 | 0.12468
E_1_15_1 | 5.474 | 71.3643 | 6.2008
E_1_15_10 | 5.431 | -13.4101 | 3.1954
E_1_15_2 | 5.008 | 60.4889 | 6.3586
E_1_15_3 | 5.183 | 23.0955 | 7.0262
E_1_15_4 | 5.396 | -3.17 | 6.1538
E_1_15_5 | 2.198 | -6.2136 | 7.1951
E_1_15_6 | 2.098 | -9.0042 | 8.3486
E_1_15_7 | 2.047 | -11.2329 | 8.6041
E_1_15_8 | 2.454 | -13.049 | 5.2092
E_1_15_9 | 5.323 | -12.5759 | 3.4161
E_1_2_1 | 16.174 | 385.2541 | 1.2071
E_1_2_10 | 51 | 5.9456 | 0.13838
E_1_2_2 | 50.603 | 32.0717 | 0.16793
E_1_2_3 | 50.401 | 6.4792 | 0.15274
E_1_2_4 | 50.209 | 5.6209 | 0.14503
E_1_2_5 | 50.388 | 4.5738 | 0.11013
E_1_2_6 | 50.622 | 5.1151 | 0.13545
E_1_2_7 | 50.415 | 3.8566 | 0.091616
E_1_2_8 | 50.032 | 5.7099 | 0.097556
E_1_2_9 | 50.537 | 7.5203 | 0.10903
E_1_6_1 | 21.593 | 416.2396 | 0.95815
E_1_6_10 | 50.309 | 9.7214 | 0.16828
E_1_6_2 | 50.217 | 4.2925 | 0.24426
E_1_6_3 | 50.892 | 1.879 | 0.19923
E_1_6_4 | 50.131 | 1.2973 | 0.1407
E_1_6_5 | 50.177 | 0.56576 | 0.14003
E_1_6_6 | 50.915 | 1.4815 | 0.1459
E_1_6_7 | 50.257 | 2.4831 | 0.13835
E_1_6_8 | 50.535 | 1.7955 | 0.1558
E_1_6_9 | 50.696 | 5.5973 | 0.15934
E_1_8_1 | 23.402 | 467.0081 | 0.85749
E_1_8_10 | 50.578 | 8.1307 | 0.11978
E_1_8_2 | 50.119 | 24.8424 | 0.16594
E_1_8_3 | 50.012 | 4.2169 | 0.14766
E_1_8_4 | 50.803 | 3.6354 | 0.089512
E_1_8_5 | 50.728 | 1.6121 | 0.084987
E_1_8_6 | 50.619 | 4.4534 | 0.086164
E_1_8_7 | 50.973 | 5.3438 | 0.076528
E_1_8_8 | 50.638 | 5.4799 | 0.084745
E_1_8_9 | 50.688 | 5.4856 | 0.10888
E_1_9_1 | 5.297 | 116.0014 | 7.0922
E_1_9_2 | 5.349 | 4.5251 | 3.9636
E_1_9_4 | 5.157 | -8.9344 | 6.6364
E_1_9_5 | 3.435 | -7.1293 | 5.2219
E_1_9_6 | 3.687 | -6.9377 | 4.2231
E_1_9_7 | 4.581 | -12.673 | 4.7573
E_1_9_8 | 6.042 | -14.9149 | 5.1105
E_1_9_9 | 5.775 | -14.144 | 3.7739
E_2_10_1 | 5.132 | 94.8575 | 6.3306
E_2_10_10 | 5.065 | -15.6726 | 2.7954
E_2_10_2 | 5.188 | -3.3242 | 4.408
E_2_10_3 | 5.419 | -7.7281 | 5.784
E_2_10_4 | 5.483 | -10.0182 | 6.312
E_2_10_5 | 2.522 | -12.1331 | 4.856
E_2_10_6 | 2.468 | -13.1362 | 6.833
E_2_10_7 | 5.319 | -14.6158 | 6.7309
E_2_10_8 | 5.416 | -15.0038 | 6.1866
E_2_10_9 | 5.353 | -14.9167 | 5.4764
E_2_12_1 | 5.39 | 122.033 | 5.6047
E_2_12_10 | 5.498 | -13.6623 | 3.0501
E_2_12_3 | 5.092 | 0.63824 | 5.8681
E_2_12_4 | 5.003 | 1.4276 | 4.7993
E_2_12_5 | 5.125 | -3.2375 | 5.4064
E_2_12_6 | 5.211 | -4.0283 | 4.5932
E_2_12_7 | 5.378 | -8.3152 | 4.8632
E_2_12_8 | 5.041 | -11.1573 | 4.0472
E_2_12_9 | 5.394 | -13.0487 | 3.0847
E_2_13_1 | 50.849 | 283.0975 | 0.46849
E_2_13_10 | 50.063 | 7.8827 | 0.11373
E_2_13_2 | 50.42 | 2.5505 | 0.16899
E_2_13_3 | 50.181 | 0.45736 | 0.16463
E_2_13_4 | 50.21 | 1.0679 | 0.14873
E_2_13_5 | 50.39 | 0.69574 | 0.11735
E_2_13_6 | 50.739 | 4.0232 | 0.09335
E_2_13_7 | 50.393 | 6.4651 | 0.10115
E_2_13_8 | 50.953 | 5.4062 | 0.1172
E_2_13_9 | 50.083 | 9.0492 | 0.10949
E_2_7_2 | 50.77 | 18.4806 | 0.11013
EC_1_1_1 | 50.349 | -20.1629 | 0.19383
EC_1_1_21 | 30.159 | -26.3229 | 0.30423
EC_1_2_3 | 5.945 | -16.4457 | 3.9108
EC_1_2_4 | 3.946 | -16.8071 | 3.9249
EC_1_2_6 | 3.907 | -16.4721 | 7.0559
EC_1_2_7 | 4.855 | -16.2249 | 5.1603
EC_1_2_8 | 4.403 | -15.6864 | 6.2403
EC_1_2_9 | 5.422 | -15.2433 | 4.7704
EC_2_1_1 | 1.836 | -16.3325 | 8.5376
EC_2_1_3 | 5.214 | -16.3919 | 3.5744
EC_2_1_4 | 5.107 | -17.1309 | 5.2129
EC_2_1_5 | 1.958 | -16.6307 | 12.1808
EC_2_1_6 | 4.207 | -15.9848 | 4.7975
EC_2_1_7 | 4.298 | -16.1393 | 4.8282
EC_2_1_8 | 4.874 | -16.2098 | 5.4482
EC_2_1_9 | 5.207 | -16.0917 | 4.1328
EC_2_2_1 | 5.248 | -17.1254 | 6.7584
EC_2_2_10 | 10.419 | -17.516 | 2.372
EC_2_2_2 | 5.848 | -16.5137 | 2.8842
EC_2_2_3 | 5.964 | -16.5208 | 2.5657
EC_2_2_4 | 4.41 | -15.6984 | 2.9594
EC_2_2_6 | 3.304 | -15.6297 | 3.6087
EC_2_2_7 | 5.289 | -16.1208 | 4.1833
EC_2_3_1 | 5.415 | -17.7345 | 6.772
EC_2_3_10 | 5.197 | -15.9102 | 4.7646
EC_2_3_2 | 5.402 | -16.7185 | 3.2775
EC_2_3_3 | 5.325 | -16.1447 | 4.1541
EC_2_3_4 | 5.363 | -16.1422 | 3.6437
EC_2_3_5 | 5.753 | -16.2406 | 3.8449
EC_2_3_6 | 5.609 | -16.08 | 3.3713
EC_2_3_7 | 3.063 | -15.8427 | 5.7388
EC_2_3_8 | 2.791 | -15.5842 | 7.0826
EC_2_3_9 | 4.377 | -16.4023 | 5.6007
L_1_1_1 | 5.418 | -25.6757 | 3.2461
L_1_1_10 | 5.483 | -25.8796 | 3.116
L_1_1_2 | 5.373 | -25.7669 | 3.0036
L_1_1_3 | 5.423 | -25.5391 | 2.9337
L_1_1_4 | 5.338 | -25.6984 | 3.1992
L_1_1_5 | 5.105 | -25.07 | 3.0568
L_1_1_6 | 5.37 | -25.8334 | 3.2395
L_1_1_7 | 5.368 | -25.9358 | 3.423
L_1_1_8 | 5.488 | -25.737 | 2.9236
L_1_1_9 | 5.376 | -26.0059 | 3.1028
L_1_10_1 | 5.03 | 140.3461 | 4.5491
L_1_10_10 | 5.005 | -25.5898 | 3.1746
L_1_10_11 | 5.111 | -25.7266 | 3.119
L_1_10_2 | 5.258 | 6.3844 | 3.544
L_1_10_3 | 5.42 | -10.2837 | 4.2643
L_1_10_4 | 5.299 | -12.1372 | 3.4098
L_1_10_5 | 5.363 | -19.1193 | 3.2848
L_1_10_6 | 5.345 | -22.474 | 3.0584
L_1_10_7 | 5.137 | -23.8051 | 3.244
L_1_10_8 | 5.009 | -24.2193 | 3.2207
L_1_10_9 | 5.209 | -25.451 | 3.2653
L_1_11_1 | 5.18 | 133.3931 | 6.1442
L_1_11_10 | 5.223 | -23.4053 | 3.2888
L_1_11_2 | 5.029 | -19.6842 | 3.3672
L_1_11_3 | 5.01 | -21.8309 | 3.4127
L_1_11_4 | 5.13 | -22.255 | 3.2965
L_1_11_5 | 5.25 | -23.3303 | 3.6941
L_1_11_6 | 5.347 | -24.1 | 3.7014
L_1_11_7 | 5.196 | -24.3982 | 3.337
L_1_11_8 | 5.172 | -24.4559 | 3.1793
L_1_11_9 | 5.055 | -24.9522 | 3.002
L_1_12_1 | 5.179 | 337.1661 | 6.0282
L_1_12_10 | 5.214 | -25.6542 | 3.0033
L_1_12_11 | 5.244 | -25.2344 | 2.9695
L_1_12_2 | 5.431 | -15.8869 | 3.1834
L_1_12_3 | 5.251 | -21.4673 | 3.2747
L_1_12_4 | 5.32 | -20.3402 | 3.3328
L_1_12_5 | 5.06 | -21.262 | 3.412
L_1_12_6 | 5.339 | -22.0377 | 3.5692
L_1_12_7 | 5.263 | -24.1149 | 3.4398
L_1_12_8 | 5.307 | -24.7712 | 3.2507
L_1_12_9 | 5.121 | -25.3332 | 3.2238
L_1_2_1 | 5.483 | -25.5117 | 2.7479
L_1_2_10 | 5.098 | -25.7607 | 3.025
L_1_2_11 | 5.444 | -25.7152 | 3.0609
L_1_2_2 | 5.384 | -25.6734 | 2.837
L_1_2_3 | 5.124 | -25.8109 | 3.1625
L_1_2_4 | 5.023 | -26.0543 | 3.6365
L_1_2_5 | 5.303 | -25.7486 | 3.4237
L_1_2_6 | 5.378 | -25.9305 | 3.2085
L_1_2_7 | 5.426 | -25.7976 | 3.1758
L_1_2_8 | 5.365 | -26.9042 | 3.6895
L_1_2_9 | 5.439 | -26.1477 | 3.2724
L_1_3_1 | 5.347 | -15.6759 | 3.1312
L_1_3_10 | 5.372 | -25.6381 | 2.743
L_1_3_2 | 5.278 | -21.5947 | 3.8758
L_1_3_3 | 5.218 | -24.8435 | 3.6383
L_1_3_4 | 5.449 | -26.2193 | 3.6644
L_1_3_5 | 5.261 | -25.7119 | 3.422
L_1_3_6 | 5.026 | -25.9317 | 3.8922
L_1_3_7 | 5.419 | -25.7948 | 2.8742
L_1_3_8 | 5.346 | -25.8652 | 2.9537
L_1_3_9 | 5.489 | -25.8706 | 3.0745
L_1_4_1 | 5.329 | -1.732 | 3.9751
L_1_4_10 | 5.303 | -25.1086 | 2.8008
L_1_4_11 | 5.494 | -25.3556 | 2.5577
L_1_4_2 | 5.266 | -13.5545 | 3.605
L_1_4_3 | 5.063 | -17.0373 | 2.79
L_1_4_4 | 5.176 | -21.2879 | 3.072
L_1_4_5 | 5.347 | -23.3572 | 2.8053
L_1_4_6 | 5.057 | -24.1915 | 2.8994
L_1_4_7 | 5.145 | -25.0959 | 2.8269
L_1_4_8 | 5.465 | -25.4436 | 3.0074
L_1_4_9 | 5.387 | -25.4247 | 2.6176
L_1_5_1 | 2.666 | 204.6674 | 8.966
L_1_5_10 | 5.182 | -23.5317 | 2.894
L_1_5_11 | 5.1 | -23.7141 | 2.6068
L_1_5_2 | 5.143 | -15.8389 | 3.4867
L_1_5_3 | 5.436 | -20.4206 | 4.079
L_1_5_4 | 5.368 | -21.5225 | 3.2276
L_1_5_5 | 5.424 | -21.8634 | 3.0572
L_1_5_6 | 5.297 | -22.8557 | 3.1773
L_1_5_7 | 5.261 | -23.1485 | 2.8627
L_1_5_8 | 5.252 | -23.8503 | 2.9476
L_1_5_9 | 5.476 | -24.0429 | 2.8219
L_1_6_1 | 2.701 | 510.6057 | 7.4549
L_1_6_10 | 5.124 | -25.1511 | 2.9347
L_1_6_11 | 5.169 | -25.0554 | 3.0497
L_1_6_2 | 5.081 | -5.7856 | 3.5901
L_1_6_3 | 5.472 | -15.4629 | 3.0922
L_1_6_4 | 5.343 | -18.2713 | 3.091
L_1_6_5 | 5.259 | -18.8435 | 2.6585
L_1_6_6 | 5.251 | -20.5896 | 2.92
L_1_6_7 | 5.116 | -23.3581 | 3.4536
L_1_6_8 | 5.293 | -23.9113 | 3.149
L_1_6_9 | 5.136 | -24.8316 | 3.2385
L_1_7_1 | 5.438 | -18.0475 | 3.576
L_1_7_10 | 5.15 | -25.8298 | 2.6268
L_1_7_2 | 5.044 | -22.8709 | 3.2156
L_1_7_3 | 5.415 | -24.0497 | 3.1481
L_1_7_4 | 5.269 | -24.5217 | 2.9623
L_1_7_5 | 5.482 | -24.816 | 2.9355
L_1_7_6 | 5.258 | -25.6154 | 2.8055
L_1_7_7 | 5.027 | -30.1 | 2.7347
L_1_7_8 | 5.361 | -30.6815 | 2.555
L_1_7_9 | 5.333 | -25.8929 | 3.1893
L_1_8_1 | 5.007 | -9.8735 | 3.2498
L_1_8_10 | 5.333 | -25.3839 | 2.8463
L_1_8_2 | 5.285 | -19.8575 | 3.0907
L_1_8_3 | 5.432 | -22.1459 | 3.1441
L_1_8_4 | 5.088 | -23.8034 | 3.1589
L_1_8_5 | 5.232 | -24.2833 | 3.3866
L_1_8_6 | 5.191 | -24.3779 | 3.2646
L_1_8_7 | 5.367 | -24.7437 | 2.4832
L_1_8_8 | 5.382 | -25.2575 | 2.885
L_1_8_9 | 5.252 | -25.6588 | 3.1182
L_1_9_1 | 5.17 | 61.0342 | 4.5845
L_1_9_10 | 5.162 | -25.5086 | 3.0048
L_1_9_11 | 5.312 | -25.0795 | 2.6768
L_1_9_2 | 5.402 | -7.3321 | 3.5119
L_1_9_3 | 5.4 | -17.3631 | 2.8671
L_1_9_4 | 5.126 | -21.6631 | 3.1455
L_1_9_5 | 5.127 | -23.1083 | 3.4123
L_1_9_6 | 5.121 | -24.4232 | 3.2585
L_1_9_7 | 5.237 | -23.7323 | 3.2253
L_1_9_8 | 5.151 | -25.0185 | 3.007
L_1_9_9 | 5.319 | -25.1921 | 2.7665
L_2_1_1 | 5.176 | -25.8329 | 4.3187
L_2_1_10 | 5.2 | -25.4876 | 2.9149
L_2_1_3 | 5.151 | -25.9839 | 3.6624
L_2_1_4 | 5.079 | -25.642 | 3.3769
L_2_1_5 | 5.393 | -25.9226 | 3.4767
L_2_1_6 | 5.188 | -26.3965 | 3.5543
L_2_1_7 | 5.37 | -25.6988 | 3.1673
L_2_1_8 | 5.123 | -25.7879 | 3.109
L_2_1_9 | 5.495 | -25.7058 | 3.2623
L_2_10_1 | 5.264 | 252.0963 | 5.1712
L_2_10_10 | 5.221 | -23.276 | 2.7878
L_2_10_11 | 5.192 | -20.4968 | 2.4007
L_2_10_2 | 5.171 | 1.7981 | 3.3853
L_2_10_3 | 5.155 | -14.2743 | 3.4128
L_2_10_4 | 5.317 | -18.9686 | 3.2803
L_2_10_5 | 5.076 | -16.6344 | 3.0307
L_2_10_6 | 5.221 | -21.392 | 3.2941
L_2_10_7 | 5.204 | -25.637 | 3.2545
L_2_10_8 | 5.5 | -27.7204 | 3.3804
L_2_10_9 | 5.25 | -22.2858 | 2.9514
L_2_11_1 | 5.473 | -15.1588 | 3.6451
L_2_11_10 | 5.116 | -25.5204 | 2.6315
L_2_11_2 | 5.327 | -23.6539 | 2.5485
L_2_11_3 | 5.053 | -24.4929 | 2.5713
L_2_11_4 | 5.304 | -24.8675 | 2.9333
L_2_11_5 | 5.26 | -25.2482 | 2.5928
L_2_11_6 | 5.357 | -25.3841 | 2.6138
L_2_11_7 | 5.233 | -25.2491 | 2.5347
L_2_11_8 | 5.097 | -25.8268 | 3.2228
L_2_11_9 | 5.127 | -25.9092 | 3.097
L_2_12_1 | 5.137 | -8.5911 | 2.7578
L_2_12_10 | 5.133 | -23.3617 | 2.3483
L_2_12_2 | 5.089 | -20.578 | 3.0546
L_2_12_3 | 5.447 | -22.493 | 2.6649
L_2_12_4 | 5.398 | -23.5888 | 2.8464
L_2_12_5 | 5.078 | -23.6672 | 3.1261
L_2_12_6 | 5.318 | -23.2561 | 3.0405
L_2_12_7 | 5.466 | -24.5616 | 2.7779
L_2_12_8 | 5.084 | -24.9053 | 2.629
L_2_12_9 | 5.051 | -24.7431 | 3.0125
L_2_13_1 | 5.289 | 102.6772 | 5.7268
L_2_13_1_i | 5.207 | 111.1341 | 5.3935
L_2_13_10 | 5.339 | -24.6466 | 2.8184
L_2_13_10_i | 5.384 | -23.0308 | 3.0317
L_2_13_2 | 5.134 | -21.0191 | 3.4939
L_2_13_2_i | 5.331 | -18.7057 | 3.6023
L_2_13_3 | 5.306 | -21.7761 | 3.6474
L_2_13_3_i | 5.047 | -19.8064 | 3.7
L_2_13_4 | 5.15 | -22.3927 | 3.4025
L_2_13_4_i | 5.292 | -19.8949 | 3.6994
L_2_13_5 | 5.065 | -23.3641 | 3.712
L_2_13_5_i | 5.454 | -21.459 | 3.5908
L_2_13_6 | 5.307 | -24.0149 | 3.4568
L_2_13_6_i | 5.487 | -22.5588 | 3.4859
L_2_13_7 | 5.016 | -24.6853 | 3.6361
L_2_13_7_i | 5.278 | -22.7291 | 3.2758
L_2_13_8 | 5.338 | -24.9942 | 3.2826
L_2_13_8_i | 5.426 | -23.3467 | 3.375
L_2_13_9 | 5.173 | -25.0511 | 3.1633
L_2_13_9_i | 5.176 | -23.2261 | 3.2107
L_2_14_1 | 5.04 | 295.4713 | 5.7909
L_2_14_1_i | 5.314 | 315.2912 | 4.9336
L_2_14_10 | 5.183 | -25.4716 | 3.814
L_2_14_10_i | 5.422 | -24.5398 | 3.5826
L_2_14_11 | 5.339 | -24.848 | 3.4481
L_2_14_11_i | 5.447 | -23.8118 | 3.2907
L_2_14_2 | 5.34 | -11.5962 | 4.0315
L_2_14_2_i | 5.496 | -9.5784 | 3.9191
L_2_14_3 | 5.427 | -18.4841 | 5.1451
L_2_14_3_i | 5.226 | -17.6119 | 4.8469
L_2_14_4 | 5.398 | -19.0956 | 3.8984
L_2_14_4_i | 5.214 | -16.9127 | 3.9835
L_2_14_5 | 5.099 | -23.5375 | 4.1679
L_2_14_5_i | 5.428 | -21.9111 | 4.0152
L_2_14_6 | 5.111 | -24.0514 | 3.939
L_2_14_6_i | 5.125 | -22.9082 | 3.8383
L_2_14_7 | 5.092 | -24.4765 | 3.7091
L_2_14_7_i | 5.146 | -23.038 | 3.7705
L_2_14_8 | 5.042 | -25.063 | 3.4148
L_2_14_8_i | 5.292 | -24.1324 | 3.5742
L_2_14_9 | 5.173 | -25.4078 | 3.424
L_2_14_9_i | 5.069 | -24.3931 | 3.4211
L_2_15_1 | 5.251 | -20.929 | 3.3143
L_2_15_10 | 5.033 | -25.4512 | 2.9535
L_2_15_2 | 5.191 | -23.7745 | 3.1376
L_2_15_3 | 5.097 | -24.0748 | 3.2135
L_2_15_4 | 5.283 | -24.4804 | 3.3485
L_2_15_5 | 5.287 | -25.0511 | 3.5894
L_2_15_6 | 5.089 | -25.1752 | 3.2132
L_2_15_7 | 5.024 | -24.8131 | 5.3197
L_2_15_8 | 5.112 | -25 | 3.2737
L_2_15_9 | 5.167 | -25.941 | 3.6128
L_2_16_1 | 5.434 | -7.8002 | 3.1477
L_2_16_10 | 5.081 | -25.3524 | 2.5368
L_2_16_2 | 5.154 | -19.5725 | 2.8937
L_2_16_3 | 5.377 | -22.4658 | 3.1135
L_2_16_4 | 5.272 | -23.6598 | 3.0042
L_2_16_5 | 5.012 | -23.4737 | 3.5675
L_2_16_6 | 5.378 | -24.9711 | 2.9345
L_2_16_7 | 5.377 | -25.5702 | 3.4952
L_2_16_8 | 5.399 | -25.5616 | 2.9483
L_2_16_9 | 5.27 | -25.0442 | 2.9215
L_2_17_1 | 5.232 | 47.1522 | 4.5321
L_2_17_10 | 5.349 | -23.432 | 3.338
L_2_17_2 | 5.079 | -9.8183 | 3.2834
L_2_17_3 | 5.26 | -16.5444 | 3.487
L_2_17_4 | 5.412 | -18.7974 | 3.5634
L_2_17_5 | 5.159 | -22.8994 | 3.7512
L_2_17_6 | 5.311 | -24.0168 | 3.3539
L_2_17_7 | 5.468 | -26.7247 | 3.6027
L_2_17_8 | 5.019 | -29.5261 | 4.1555
L_2_17_9 | 5.11 | -27.7218 | 3.6036
L_2_18_1 | 5.304 | 110.6612 | 3.9195
L_2_18_10 | 5.069 | -23.8288 | 2.9184
L_2_18_11 | 5.17 | -24.9461 | 2.8415
L_2_18_2 | 5.242 | -0.43607 | 3.249
L_2_18_3 | 5.35 | -11.5154 | 3.4116
L_2_18_4 | 5.416 | -16 | 3.7665
L_2_18_5 | 5.144 | -19.027 | 3.266
L_2_18_6 | 5.089 | -20.3451 | 3.3411
L_2_18_7 | 5.467 | -21.9043 | 3.8564
L_2_18_8 | 5.392 | -20.7468 | 3.1144
L_2_18_9 | 5.2 | -28.2571 | 3.4578
L_2_2_1 | 5.182 | -25.7088 | 2.8862
L_2_2_10 | 5.388 | -25.4981 | 3.4592
L_2_2_2 | 5.113 | -25.6321 | 3.4715
L_2_2_3 | 5.194 | -25.845 | 3.3534
L_2_2_4 | 5.047 | -25.7382 | 3.2399
L_2_2_5 | 5.007 | -25.8902 | 3.5696
L_2_2_6 | 5.38 | -25.9804 | 3.3673
L_2_2_7 | 5.433 | -25.8864 | 3.1493
L_2_2_8 | 5.247 | -25.7612 | 2.9333
L_2_2_9 | 5.169 | -26.1437 | 3.4288
L_2_3_1 | 5.17 | -25.557 | 3.1964
L_2_3_10 | 5.252 | -25.8029 | 2.9655
L_2_3_2 | 5.147 | -25.997 | 3.2717
L_2_3_3 | 5.202 | -25.6921 | 3.4295
L_2_3_4 | 5.104 | -25.8715 | 3.6402
L_2_3_5 | 5.337 | -25.5905 | 3.1976
L_2_3_6 | 5.054 | -25.5731 | 2.8871
L_2_3_7 | 5.301 | -25.7602 | 3.0492
L_2_3_8 | 5.109 | -25.7045 | 2.8499
L_2_3_9 | 5.379 | -25.6966 | 2.8095
L_2_4_1 | 5.446 | 59.1441 | 4.5396
L_2_4_10 | 5.337 | -25.8534 | 3.1122
L_2_4_11 | 5.027 | -25.6686 | 3.2018
L_2_4_2 | 5.101 | -18.6608 | 3.5634
L_2_4_3 | 5.313 | -22.5358 | 3.2876
L_2_4_4 | 5.089 | -22.6849 | 3.1165
L_2_4_5 | 5.468 | -24.2211 | 3.1723
L_2_4_6 | 5.189 | -24.4742 | 3.0727
L_2_4_7 | 5.044 | -29.7339 | 3.1124
L_2_4_8 | 5.306 | -31.7815 | 3.2673
L_2_4_9 | 5.304 | -25.851 | 3.1263
L_2_5_1 | 5.191 | 226.0149 | 4.8411
L_2_5_10 | 5.49 | -24.4471 | 3.3217
L_2_5_2 | 5.463 | -13.7972 | 3.0815
L_2_5_3 | 5.105 | -19.927 | 3.005
L_2_5_4 | 5.087 | -21.3302 | 2.933
L_2_5_5 | 5.084 | -22.9786 | 3.7576
L_2_5_6 | 5.398 | -23.9897 | 3.1871
L_2_5_7 | 5.37 | -27.5885 | 3.3529
L_2_5_8 | 5.034 | -30.6236 | 2.7595
L_2_5_9 | 5.19 | -24.261 | 2.4756
L_2_6_1 | 2.249 | 149.6346 | 8.4141
L_2_6_10 | 5.038 | -24.8486 | 2.7455
L_2_6_11 | 5.095 | -23.8635 | 2.9412
L_2_6_2 | 5.202 | -18.8693 | 3.3921
L_2_6_3 | 5.098 | -20.2467 | 3.2835
L_2_6_4 | 5.484 | -21.4491 | 3.4859
L_2_6_5 | 5.256 | -23.0224 | 3.1729
L_2_6_6 | 5.317 | -23.5862 | 3.1543
L_2_6_7 | 5.297 | -24.1714 | 2.8884
L_2_6_8 | 5.38 | -24.7887 | 3.094
L_2_6_9 | 5.222 | -24.5877 | 3.4788
L_2_7_1 | 5.043 | -25.7034 | 3.5512
L_2_7_10 | 5.245 | -25.7769 | 2.971
L_2_7_11 | 5.116 | -25.7173 | 2.7762
L_2_7_2 | 5.374 | -26.1007 | 3.7666
L_2_7_3 | 5.327 | -25.7726 | 2.732
L_2_7_4 | 5.408 | -25.5689 | 2.7983
L_2_7_5 | 5.403 | -25.516 | 2.8381
L_2_7_6 | 5.374 | -25.6358 | 2.8057
L_2_7_7 | 5.459 | -25.6873 | 3.0265
L_2_7_8 | 5.237 | -25.5495 | 2.4315
L_2_7_9 | 5.082 | -25.679 | 2.6326
L_2_8_1 | 5.058 | 587.7634 | 6.1263
L_2_8_10 | 5.111 | -25.0488 | 2.751
L_2_8_11 | 5.344 | -24.5874 | 2.6225
L_2_8_2 | 5.405 | -12.0619 | 2.9449
L_2_8_3 | 5.413 | -19.6834 | 2.556
L_2_8_4 | 5.282 | -21.602 | 3.0835
L_2_8_5 | 5.443 | -22.5755 | 2.9391
L_2_8_6 | 5.349 | -24.0587 | 2.9587
L_2_8_7 | 5.306 | -24.207 | 2.6458
L_2_8_8 | 5.021 | -25.0565 | 2.7369
L_2_8_9 | 5.395 | -25.2417 | 2.8213
L_2_9_1 | 5.308 | 76.2561 | 5.1571
L_2_9_10 | 5.252 | -25.699 | 2.9622
L_2_9_11 | 5.466 | -25.405 | 2.8063
L_2_9_2 | 5.341 | -10.0352 | 3.971
L_2_9_3 | 5.401 | -18.5501 | 3.3809
L_2_9_4 | 5.046 | -21.9171 | 3.3252
L_2_9_5 | 5.091 | -22.3277 | 3.3122
L_2_9_6 | 5.009 | -23.0514 | 3.3641
L_2_9_7 | 5.315 | -27.6695 | 3.4183
L_2_9_8 | 5.141 | -29.2495 | 3.1842
L_2_9_9 | 5.166 | -22.704 | 3.2455

## Info
West Australian Biogeochemistry Centre WABC John de Laeter Centre of Mass Spectrometry School of Plant Biology M090, The University of Western Australia 35 Stirling Highway Crawley WA 6009, Australia
|  | phone +61 8 6488 4584 |  |  | email: grzegorz.skrzypek@uwa.edu.au
| Date: | 2025-11-02 | combined | 2026-02-08
| Client: | Luka Wright <luka.wright@research.uwa.edu.au>
Laboratory Report
Samples were analysed for 13C atom% and δ(13C), using an continues flow system consisting of a SERCON 20-22 mass spectrometer connected with an Automated Nitrogen Carbon Analyzer (Sercon, UK)
Notes:
1 | All δ(13C) values given in permille [‰, VPDB] according to delta notation.
3 | Multi-points normalization used in order to reduce raw values to the international scale (Skrzypek 2013).
Normalization done basis on international standards provided by IAEA: δ(13C) - NBS22, USGS24, IAEA603, USGS40, USGS41
4 | Values of international standards for carbon δ(13C) basis on Coplen et al. (2006), note updated scale for carbon stable isotope composition.
5 | The uncertainty error of analyses (1 std dev)
|  | δ(13C) = 0.10 ‰ | 13C fraction = 0.0005 %
6 | Description of the analytical technique for EA can be found in e.g. Skrzypek and Paul 2006.
7 | For recalculation between isotope delta and isotope fraction refer to Skrzypek and Dunn 2020ab
References:
Skrzypek G., 2013, Normalization procedures and reference material selection in stable HCNOS isotope analyses – an overview. Analytical and Bioanalytical Chemistry 405: 2815-2823.
Coplen T.B., Brand W.A., Gehre M., Groning M., Meijer H.A.J., Toman B. and Verkouteren R.M. 2006. New Guidelines for d13C measurements. Analytical Chemistry 78: 2439-2441.
Skrzypek G., Paul D., 2006, d13C Analyses of Calcium Carbonate: Comparison between the GasBench and Elemental Analyzer Techniques. Rapid Commun. Mass Spectrom. 20: 2915-2920.
Skrzypek G., Dunn P., 2020a. The recalculation of the stable isotope expressions for HCNOS – EasyIsoCalculator. Rapid Communications in Mass Spectrometry 34: e8892.
Skrzypek G., Dunn P. 2020b. Absolute isotope ratios defining isotope scales used in isotope ratio mass spectrometers and optical isotope instruments. Rapid Communications in Mass Spectrometry 34: e8890.
Standards used for normalisation
| Name | δ(13C) [‰, VPDB]
| NBS22 | -30.03
| IAEA603 | 2.46
| USGS24 | -16.05
| USGS41 | 37.63
| USGS40 | -26.39