## Results
Name | δ(13C) [‰ VPDB] | 13C fraction [atm%] | C% (weight) | Comments
e1_6i | -20.597 | 1.0886 | 27.9541
e1_8i | -20.7546 | 1.0884 | 26.9532
e1_10i | -21.6023 | 1.0875 | 27.8442
e1_6f | 153.6816 | 1.2798 | 27.3049
e1_8f | 113.8923 | 1.2362 | 28.7054
e1_10f | 117.5328 | 1.2402 | 28.6032

## Info
West Australian Biogeochemistry Centre WABC John de Laeter Centre of Mass Spectrometry School of Plant Biology M090, The University of Western Australia 35 Stirling Highway Crawley WA 6009, Australia
|  | phone +61 8 6488 4584 |  | email: grzegorz.skrzypek@uwa.edu.au
| Date: | 2023-07-28
| Client: | Luka Wright <luka.wright@research.uwa.edu.au>
UWA
Laboratory Report
Samples were analysed for 13C atom% and δ(13C), using an continues flow system consisting of a SERCON 20-22 mass spectrometer connected with an Automated Nitrogen Carbon Analyzer (Sercon, UK)
Notes:
1 | All δ(13C) values given in permille [‰, VPDB] according to delta notation.
3 | Multi-points normalization used in order to reduce raw values to the international scale (Skrzypek 2013).
Normalization done basis on international standards provided by IAEA: δ(13C) - NBS22, USGS24, IAEA603, USGS40, USGS41
4 | Values of international standards for carbon δ(13C) basis on Coplen et al. (2006), note updated scale for carbon stable isotope composition.
5 | The uncertainty error of analyses (1 std dev)
|  | δ(13C) = 0.10 ‰ | 13C fraction = 0.0005 %
6 | Description of the analytical technique for EA can be found in e.g. Skrzypek and Paul 2006.
7 | For recalculation between isotope delta and isotope fraction refer to Skrzypek and Dunn 2020ab
References:
Skrzypek G., 2013, Normalization procedures and reference material selection in stable HCNOS isotope analyses – an overview. Analytical and Bioanalytical Chemistry 405: 2815-2823.
Coplen T.B., Brand W.A., Gehre M., Groning M., Meijer H.A.J., Toman B. and Verkouteren R.M. 2006. New Guidelines for d13C measurements. Analytical Chemistry 78: 2439-2441.
Skrzypek G., Paul D., 2006, d13C Analyses of Calcium Carbonate: Comparison between the GasBench and Elemental Analyzer Techniques. Rapid Commun. Mass Spectrom. 20: 2915-2920.
Skrzypek G., Dunn P., 2020a. The recalculation of the stable isotope expressions for HCNOS – EasyIsoCalculator. Rapid Communications in Mass Spectrometry 34: e8892.
Skrzypek G., Dunn P. 2020b. Absolute isotope ratios defining isotope scales used in isotope ratio mass spectrometers and optical isotope instruments. Rapid Communications in Mass Spectrometry 34: e8890.
Standards used for normalisation
| Name | δ(13C) [‰, VPDB]
| NBS22 | -30.03
| IAEA603 | 2.46
| USGS24 | -16.05
| USGS41 | 37.63
| USGS40 | -26.39